## Slide 1: Western Resource Adequacy Program
February 15, 2023

## Slide 2: Solving a Problem
Resource Adequacy is currently conducted on utility-by-utility basis under individual IRPs or other local planning processes
  No standardized method for measuring reliability risk or capacity contribution of resources
  Utilities often must make broad assumptions about regional capacity availability that may not be accurate
  Implements a binding forward showing framework that requires entities to demonstrate they have secured their share of the regional capacity need for the upcoming season
  Implements a binding operational program that obligates members with calculated surplus to assist participants with a calculated deficit on the hours of highest need
  Leverages the binding nature of the operational program, together with modeled supply and load diversity, to safely lower the requirements in the forward showing and help inform resource selection for the region, driving investment savings for members and their end use customers
Notes: Rebecca

## Slide 3: WRAP Participation
Voluntary participation in the program by the Load Responsible Entity (LRE)
Primary entity responsible for meeting RA requirements —focus of program rights, responsibilities and compliance
Sign Western Resource Adequacy Agreement (WRAA) (pro forma agreement under the WRAP Tariff) to commit
Fund the costs of administering the program and sits on RA Participant Committee (RAPC)
While joining is voluntary, once an LRE has joined, compliance is mandatory

## Slide 4: Current Participants Arizona Public Service Avista Bonneville Power Administration Calpine Chelan PUD Clatskanie PUD Eugene Water & Electric Board Grant PUD Idaho Power NorthWestern Energy NV Energy PacifiCorp Portland General Electric Powerex Puget Sound Energy Salt River Project Seattle City Light Shell Energy Snohomish PUD Tacoma Power
Industry-driven initiative for regional approach to help ensure resource adequacy in light of changing resource composition and increased resource uncertainty
  Estimated peak winter load of 65,122 MW and summer load of 66,768 MW
Implemented through bilateral transactions under existing frameworks
Also – in response to feedback from participants, NWPP is now doing business as Western Power Pool (WPP)
Notes: Rebecca

## Slide 5: Program Design Overview Forward Showing Program
Two Seasons
  Winter Season: November – March 15
  Summer Season: June – September 15
Annual Assessment
  PO performs LOLE studies 2-5 years before Binding Season
Forward Showing
  Participant submits completed FS workbook 7 months before each (Winter and Summer) Binding Season
  PO notifies Participant of any deficiencies 60 days after FS submission deadline
  Participant must cure deficiencies within 60 days after PO notice (120 days after initial FS deadline, if later) to avoid deficiency charge
Determine Program Capacity Requirement
Determine Resource Capacity Contribution
Compliance Review of Portfolio

## Slide 6: Program Design Overview Operations Program
  Evaluates participants operational situation relative to Forward Showing assumptions (for load, outages, VER performance)
    PO runs advisory sharing calculation beginning 7 days prior to operating day
  Obligates participants with calculated surplus to assist participants with a calculated deficit on the hours of highest need
  Deficiency forecast on day before Operating Day (Preschedule Day) establishes Holdback Requirement for surplus participants
    Obligation is allocated pro-rata to surplus participants
  Surplus Participant that fails to provide assigned Energy Deployment must pay Energy Delivery Failure Charge
    Waivers will be available for specific circumstances
FS Expectations
Operational Reality
Sharing Requirement
𝑺𝒉𝒂𝒓𝒊𝒏𝒈 𝑹𝒆𝒒𝒖𝒊𝒓𝒆𝒎𝒆𝒏𝒕 = [𝑷𝟓𝟎 + 𝑷𝑹𝑴 −
𝜟 𝑭𝒐𝒓𝒄𝒆𝒅 𝑶𝒖𝒕𝒂𝒈𝒆𝒔 +
𝜟𝑹𝒐𝑹 𝑷𝒆𝒓𝒇𝒐𝒓𝒎𝒂𝒏𝒄𝒆 +
𝜟𝑽𝑬𝑹 𝑷𝒆𝒓𝒇𝒐𝒓𝒎𝒂𝒏𝒄𝒆] –
[𝑳𝒐𝒂𝒅 𝑭𝒐𝒓𝒆𝒄𝒂𝒔𝒕 + 𝜟𝑪𝑹 + 𝑼𝒏𝒄𝒆𝒓𝒕𝒂𝒊𝒏𝒕𝒚]

## Slide 7: Operations Program Timeline

## Slide 8: Operational Program

## Slide 9: Transition Timeline
2022
Non-Binding Forward Showing
Winter 22-23, Summer 23, Winter 23-24, Summer 24, Winter 24-25
2023
2024
2025
2026
2027
2028
Non-Binding Operations Program
Summer 23 (trial – will include testing scenarios), Winter 23-24, Summer 24, Winter 24-25
Summer
Summer
Summer
Summer
Summer
Summer
Winter
Winter
Winter
Winter
Winter
Winter
2029
Summer
Winter
Winter
Transition Seasons (Ops and FS)
Summer 25, Winter 25-26, Summer 26, Winter 26-27, Summer 27, Winter 27-28
Binding Program Without Transition Provisions
Summer 28 and all seasons following
Notes: Non-Binding FS Seasons: Winter 22-23, Summer 23, Winter 23-24, Summer 24, Winter 24-25
Non-Binding Ops Seasons: Summer 23 (trial - will include testing scenarios), Winter 23-24, Summer 24, Winter 24-25
Transition Seasons: (Ops + FS): Summer 25, Winter 25-26, Summer 26, Winter 26-27, Summer 27, Winter 27-28
Binding Program Without Transition Provisions: Summer 28 and all seasons following

## Slide 10: What’s happening in 2023
Continued Program Administration
  Business Practice Development: review and approval of first set of business practices
  Retaining current staff and hiring 2-3 new staff
  Continuing to develop stakeholder engagement structure and technology
  Facilitation of Participant and stakeholder meetings
Program Operator work
  Non-Binding Forward Showings: for Winter 2023-24, Summer 2024; data requests for updated modeling (Jan 2023)
  Ops Program set up: program trials Summer 2023, first non-binding Winter 2023-24
Governance standup
  Seating independent Board of Directors – a Nominating Committee worked through 2022 to identify the candidates
  Fully empowered Program Review and Nominating Committees