## Sheet1
2023 Ten Year Data Bank Late Data Log
Case | Entities Late with Initial Data Submittal | Date Due to Staff | Days Late | WECC Late | Observed Data Issues | Entities Late with Submittal of Comments | Date Due to Staff | Days Late | WECC Late | Observed Data Issues
2024 LSP2S | EPE | 2022-10-31 | 3 |  |  | EPE | 2023-01-06 | No submission
2023-24 HW3 | EPE | 2022-12-09 | 6 |  |  | none | 2023-02-24 | n/a
2023-24 LW1 | EPE | 2022-12-09 | 6 | X |  | none | 2023-03-24 | n/a | X
2024 HSP1 | EPE | 2023-01-06 | No submission | X |  | none | 2023-03-17 | n/a | X
2028-29 HW2 | none | 2023-02-03 | n/a | X |  | Northwest | 2023-05-03 | 8 | X
2029 HS2 | none | 2023-02-03 | n/a |  |  | Alberta | 2023-04-07 | 10
2024 HS3 | EPE | 2023-05-12 | 12 | X |  |  | 2023-07-28 |  | X
2024 LS1 | EPE | 2023-05-12 | 12 | X | Significant L&R mismatch in NW (swing machine at -4000 MW), PG&E swing below min by 120 MW |  | 2023-09-18 |  | X
2033-34 HW1 | EPE | 2023-06-09 | 10 | X | PG&E submitted generation (5752 MW) that did not align with DPM requirements, NW swing 229 MW above max |  | 2023-08-11 |  | X
2034 HS1 | EPE | 2023-06-09 | 10 | X | Generation in case did not align with L&R data (NW 419 MW short, swing overloaded); PG&E submitted generation (11,000 MW) that did not align with DPM requirements |  | 2023-09-22 |  | X
2024 HSP2S | EPE | 2023-06-30 | No submission | X | Northwest did not coordinate interchanges for power to flow in proper direction specified by case description + swing unbalanced by 4100 MW, EPE did not submit any data |  |  |  | X
Mismatched Interchange Data
2024 LSP2S | none
2023-24 HW3 | none
2023-24 LW1 | none
2024 HSP1 | none
2028-29 HW2 | none
2029 HS2 | Sierra, LADWP
2024 HS3 | WAPA LC, WAPA RM, SCE
2024 LS1 | Northwest, Idaho, LADWP, TEP, WAPA RM
2033-34 HW1 | Northwest, TEP, SDGE, NWMT, AEPCO
2034 HS1 | Northwest
2024 HSP2S | none
Late RAS Data
24HW3 | BPA, PGAE, CEN, LA, NVE, PACE, SDGE, SRP
24LW1 | BPA, PGAE, CEN, LA, NVE, PACE, SDGE, SRP
24HSP1 | PGAE, TSGT
24LS1
24HS3