## Slide 1
WECC
August 2017 Reliability Workshop James Merlo, PhD
Vice President, Reliability Risk Management
August 29, 2017

## Slide 2: Events Analysis Process Capturing Faint Signals
Notes: 13 lessons learned published
In 2016, there were 85 non-EMS brief reports submitted to the ERO. This was a substantial increase when compared to 50 non-EMS reports submitted to the ERO in 2015. 77 of these 85 events were Category 1 events, 6 were Category 2 events and 2 were Category 3.a events in ERCOT. Subsequent to January 1, 2017, the two Category 3.a events in ERCOT would be classified as a Category 1.g event to more accurately reflect the risk associated with these events.

## Slide 3: Event Severity Remains on Good Glideslope

## Slide 4: Continued Decline in Average Transmission Outage Severity

## Slide 5: Misoperations by Cause Code

## Slide 6: Misoperations Rates Continuing to Decline

## Slide 7: Misoperation Rate by Year

## Slide 8: Sustained Outages
Table B.14: TADS Sustained Outages 100 kV+ (2015) |  |  |  | 
Sustained Cause Code | Number of Outages | Average Outage Duration (Hours) | Median Outage Duration (Hours) | Maximum Duration (Days)
Failed AC Circuit Equipment | 1248 | 56.9 | 12.8 | 161.4
Failed AC Substation Equipment | 813 | 25.8 | 2.8 | 48.8
Weather- excluding lightning | 796 | 14.3 | 1.1 | 107.8
Unknown | 727 | 4.7 | 0.1 | 19.0
Other | 682 | 7.0 | 0.4 | 49.8
Misoperation | 565 | 11.1 | 0.9 | 34.5
Foreign Interference | 411 | 10.0 | 2.1 | 25.6
Lightning | 405 | 5.8 | 0.1 | 37.6
Human Error | 344 | 4.2 | 0.2 | 18.9
Power System Condition | 326 | 29.4 | 0.3 | 111.9
Vegetation | 321 | 23.1 | 8.7 | 25.3
Fire | 88 | 33.3 | 2.9 | 52.9
Contamination | 76 | 8.9 | 1.6 | 5.6
Environmental | 38 | 32.1 | 3.9 | 21.7
Vandalism- Terrorism- or Malicious Acts | 5 | 6.1 | 5.5 | 0.7
Grand Total | 6845 | 21.6 | 1.7 | 161.4

## Slide 9: Sustained Outages
Table B.14: TADS Sustained Outages 100 kV+ (2015) |  |  |  | 
Sustained Cause Code | Number of Outages | Average Outage Duration (Hours) | Median Outage Duration (Hours) | Maximum Duration (Days)
Failed AC Circuit Equipment | 1248 | 56.9 | 12.8 | 161.4
Failed AC Substation Equipment | 813 | 25.8 | 2.8 | 48.8
Weather- excluding lightning | 796 | 14.3 | 1.1 | 107.8
Unknown | 727 | 4.7 | 0.1 | 19.0
Other | 682 | 7.0 | 0.4 | 49.8
Misoperation | 565 | 11.1 | 0.9 | 34.5
Foreign Interference | 411 | 10.0 | 2.1 | 25.6
Lightning | 405 | 5.8 | 0.1 | 37.6
Human Error | 344 | 4.2 | 0.2 | 18.9
Power System Condition | 326 | 29.4 | 0.3 | 111.9
Vegetation | 321 | 23.1 | 8.7 | 25.3
Fire | 88 | 33.3 | 2.9 | 52.9
Contamination | 76 | 8.9 | 1.6 | 5.6
Environmental | 38 | 32.1 | 3.9 | 21.7
Vandalism- Terrorism- or Malicious Acts | 5 | 6.1 | 5.5 | 0.7
Grand Total | 6845 | 21.6 | 1.7 | 161.4

## Slide 10: System Dynamic Character is Changing
Retirement/displacement of conventional generation
  Variable energy resources
  Rapid penetration of electronically-coupled resources
Essential Reliability Services
  Reduced inertia
  Frequency Reponses
  Voltage Support
  Ramping and flexibility needs
Rapid penetration of new loads
System controls and protection coordination
Modeling and simulation constraints
Increasing interface with distribution-centric resources

## Slide 11: Human Error

## Slide 12: Which Direction?

## Slide 13: Work as Planned

## Slide 14: Work as Executed

## Slide 15: Human Capital

## Slide 16: All Trying to do the Right Thing

## Slide 17: Sometimes it is a Human

## Slide 18: Your Artifacts Help Define You

## Slide 19: Risk versus Consequences

## Slide 20: Event Analysis and Compliance
Event
Report
(EA Process)
Compliance
Assessment
Registered Entity
Regional Entity
Quality Review and PV Screen
High
Less than adequate
No Report
Review
Refine
Refine
with entity
Cause Analysis
Trend Analysis
Investigate
Spot Check
Data Submittal
Add to Audit
No action
Emphasis on Data and Analysis
NERC
Support and Oversight
Report PV as necessary
Incentives and Credit
Decision Point
Improved
Information to Industry
Quality
Risk
Event
RISK?
Self assessment
Improved Reliability
Monitor
Fair
Treatment
Trend Analysis
Notes: Reconciliation of data, trend analysis; Conduct GAP analysis on Standards and Compliance Monitoring Program
Improved; Lessons Learned, Guidelines, Standards, Monitoring, Education, Training

## Slide 21
Questions and Answers