## Slide 1: Misoperations in the West: Lay of the Land
Victoria L. Ravenscroft
Manager, Performance Analysis

## Slide 2: Reducing Misoperations
Four Cornerstones
  Information
  Analysis
  Partnership
  Action
Information
Analysis
Partnership
Action

## Slide 3: 1. Information
Misoperations in the West
~ 300 misoperations per year
Rate between 5% and 6%
Top causes
  Incorrect Settings
  Relay Failures
  Unknown
Incorrect Settings/Logic/Design
1
Relay Failures
2
Unknown
3
4
5
6
8
7
As-Left Personnel Error
AC System
Communication Failures
Other (Explainable)
DC System

## Slide 4: 2. Analysis
Chart: 
| Human Error | Equipment Failure | Other | Unknown
2013 | 146 | 105 | 37 | 6
2014 | 148 | 113 | 25 | 9
2015 | 149 | 97 | 30 | 25
2016 | 152 | 97 | 33 | 19
Misoperations by Cause 2013-2016
Chart: 
| Human Error | Equipment Failure | Other | Unknown
2013 | 0.45702 | 0.47984 | 0.47917 | 0.56332
2014 | 0.45578 | 0.46646 | 0.52778 | 0.5408
2015 | 0.43056 | 0.46886 | 0.45417 | 0.52874
2016 | 0.46496 | 0.46853 | 0.48299 | 0.58803
Average Index Score by Cause 2013-2016

## Slide 5: 3. Partnership
WECC analyzes information on misoperations for entire Interconnection…
BUT
Individual entities have the information on what happened and why…
AND
Technical subject matter experts have the knowledge to piece everything together

## Slide 7: Overview
Approach
  Intentional
  Measurable
  Industry-led
  Flexible
Goal
  Impactful and reasonable
Strategy
  Principle-driven

## Slide 8: Approach
Intentional
Measurable
  Look back and determine how our actions effected the total number of misoperations
Industry-led
  WECC and NERC don’t operate anything
Flexible
  Actions must be reasonable; entities must be able to justify and perform the actions

## Slide 9: Goal
Impactful
  Targeted reduction over next 3 to 5 years
Reasonable
  3-tiered goal
  Based on statistical analysis of historical information

## Slide 10: Strategy
Inclusive
Scalable
Measurable
Impactful
Actions should cause positive change
Actions should be trackable and have identifiable results
All contributors who can add value should be included
Actions should be able to fit a range of entity types and sizes
Threshold 9%
Target 12%
Stretch 17%

## Slide 11
Questions and Answers