## Slide 1: John Gross SRWG Chair
SRWG Update to TSS
February 2015, Meeting 168
WECC HQ

## Slide 2: Topics
Model Implementation Schedule
Base Case Coordination System Status
MOD-032-1 Implementation
Study Program Subgroup
  Annual Survey
  Modify 2015 schedule – load description and case schedule
  Efforts needed to model interchanges
Compliance Subgroup
  PSS replog…
  DPM – 4 digit zone numbers
  Representation of BA?
Contingency Analysis by WECC

## Slide 3: Model Implementation Schedule
Modified schedule for time overcurrent
  For >100 kV (>200 kV was due with 15HS4)
  Split schedule into Transformers and Lines
  Transformers due 9/11/2015 with 16HS3
  Lines due 2016 with case TBD

## Slide 4: Base Case Coordination System
Does is work? Will it work?
SRWG consensus: technically it will work
Status update from WECC Staff

## Slide 5: MOD-032-1 Implementation
Modification of Data Preparation Manual
  Change applicability from “Member Systems” to Planning Coordinators
Development of data requirements and reporting procedures
  Planning Coordinators include the DPM as part of their documentation
MOD-11 & 13-WECC-CRT-1
  Will be retired, requirements moved to SRWG documents
Accounting for Planning Coordinators
  Add new fields in software to function similar to Zones
Approval Item: MOD-032-1 Implementation

## Slide 6: Study Program: Annual Survey
Transmitted December 22
Responses were due January 16

## Slide 7: Study Program: Load Description
What is the purpose of WECC base cases?
  Meet individual company study needs
  Interconnection wide study
New description
  Expected peak or minimum for month – month
  Specific hours XX00 – XX00 MST
Historical Balancing Area loading used to pick hours

## Slide 8: Study Program: 2015 Schedule
Incorporates new load description
Adjusted schedule for 2016 Summer Ops
  Ops cases needed sooner for studies
  TEPPC case slides back in schedule
Approval Item: 2015 Base Case Compilation Schedule rev 3

## Slide 9: Study Program: Interchanges
Identified need to improve interchanges
  Consistency between 1, 5, and 10 year cases
  Specific issues related to HW and LW flows
Effort to collect historical data started
Interchanges between what?
  “Area” to “Area”
  BA to BA
  PC to PC
  Paths

## Slide 10: Compliance: Representation Log
Status update
  Counts are steady, Long ID data improved
Requested changes
  Split PSS column: exempt generators and model missing
    Exempt generators are not a modeling issue
    Replog presently show model missing

## Slide 11: Compliance: Data Preparation Manual
Added four digit Zone numbers
Approval Item: Data Preparation Manual v?
July 18, 2014
Edited and Formatted
4 Digit Zone addition
July 18, 2014
Edited and Formatted
4 Digit Zone addition
MOD-032 Implementation
Non-BCCS
BCCS
DPM Revisions

## Slide 12: Compliance: BA Representation
TSS guidance on need to represent Balancing Authority areas?

## Slide 13: Contingency Analysis by WECC
Presentation by Nathan Powell

## Slide 14: Attached Documents
Model Implementation Schedule
SRWG MOD-032-1 Implementation
  DPM Revision for MOD-032-1
2015 Base Case Compilation Schedule
Representation Log
DPM revision

## Slide 15
Questions?