## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-07-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 92.9 |  | 81.6 |  | 60.2 | 98.8
Low: |  | 58.5 |  | 52.9 |  | 58.2 | 72.8
Conditions: |  | Sunny |  | Sunny |  | Heavy rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 76115.9569 | 17 | 10092.5931 |  | 4947.5372 | 19350.94
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23625.4074 | 18 | 2097 |  | 1535.6515 | 8477.44
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 40598.478 | 19 | 4574.21 |  | 3130.21 | 13086.29
Includes CFE, CISO & LDWP
WI TOTAL |  | 139222.3952 | 18 | 16857.3725 |  | 8803.0885 | 39374.67
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74875 | 17 | 18787
SRSG |  | 23827 | 16 | 4416
CAMX* |  | 39089 | 18 | 5929
WI TOTAL |  | 136678 | 18 | 27980
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-07-28 | WACM | Path 36 |  | 4 | 2

## Map
Weather Information
Calgary, AB
High (F) | 81.6
Low (F) | 52.9
Sunny |  | 76115.9569 | 83.93% | 83.93% | 16.07% | 76,116 MW
|  | 23625.4074 | 79.73% | 79.73% | 20.27% | 23,625 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 61.2 | 40598.478 | 66.12% | 66.12% | 33.88% | 40,598 MW
Low (F) | 56.3
Patchy rain nearby
Billings, MT
High (F) | 94.8
Low (F) | 58
Partly Cloudy
Loveland, CO
High (F) | 99.2
Low (F) | 62.4
Sunny
Los Angeles, CA
High (F) | 75.1
Low (F) | 65
Sunny
Phoenix, AZ
High (F) | 103.3
Low (F) | 90.7
Patchy rain nearby
Salt Lake City, UT
High (F) | 91.9
Low (F) | 60
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
76,116 MW
23,625 MW
40,598 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend