## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-07-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 94.7 |  | 77 |  | 65 | 100.2
Low: |  | 59.2 |  | 51.8 |  | 59 | 76.4
Conditions: |  | Sunny |  | Partly Cloudy |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 76118.4626 | 17 | 13216.0419 |  | 4947.7001 | 19876.75
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23968.3802 | 17 | 1981 |  | 1557.9447 | 8379.81
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 42359.1513 | 19 | 3971.31 |  | 3239.31 | 14448.92
Includes CFE, CISO & LDWP
WI TOTAL |  | 141242.7395 | 18 | 19458.0847 |  | 8731.0647 | 41274.48
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78884 | 17 | 19469
SRSG |  | 24198 | 16 | 4469
CAMX* |  | 42811 | 18 | 5948
WI TOTAL |  | 145834 | 17 | 29645
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-07-29 | WACM | Path 36 |  | 4 | 1

## Map
Weather Information
Calgary, AB
High (F) | 77
Low (F) | 51.8
Partly Cloudy |  | 76118.4626 | 83.93% | 83.93% | 16.07% | 76,118 MW
|  | 23968.3802 | 80.89% | 80.89% | 19.11% | 23,968 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 78.1 | 42359.1513 | 68.99% | 68.99% | 31.01% | 42,359 MW
Low (F) | 61.1
Patchy rain nearby
Billings, MT
High (F) | 87.3
Low (F) | 61.2
Patchy rain nearby
Loveland, CO
High (F) | 96.6
Low (F) | 63.5
Sunny
Los Angeles, CA
High (F) | 75
Low (F) | 64.1
Sunny
Phoenix, AZ
High (F) | 103.6
Low (F) | 90
Sunny
Salt Lake City, UT
High (F) | 89.5
Low (F) | 61.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
76,118 MW
23,968 MW
42,359 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend