## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-01
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 102.8 |  | 87.1 |  | 75.6 | 101
Low: |  | 65.9 |  | 51.5 |  | 61.2 | 75.3
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 83899.3536 | 17 | 7044.2232 |  | 5453.458 | 19399.34
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23898.7605 | 17 | 965 |  | 1553.4194 | 9312.24
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 46807.7181 | 19 | 4151.38 |  | 3187.38 | 14726.17
Includes CFE, CISO & LDWP
WI TOTAL |  | 152976.7224 | 17 | 12302.0332 |  | 9943.487 | 42100.75
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 84859 | 17 | 14791
SRSG |  | 22021 | 15 | 3677
CAMX* |  | 46025 | 18 | 5970
WI TOTAL |  | 152385 | 17 | 24064
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 87.1
Low (F) | 51.5
Sunny |  | 83899.3536 | 92.51% | 92.51% | 7.493% | 83,899 MW
|  | 23898.7605 | 80.66% | 80.66% | 19.34% | 23,899 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 98.4 | 46807.7181 | 76.24% | 76.24% | 23.76% | 46,808 MW
Low (F) | 58.5
Sunny
Billings, MT
High (F) | 97.2
Low (F) | 61.2
Sunny
Loveland, CO
High (F) | 97.8
Low (F) | 60.4
Sunny
Los Angeles, CA
High (F) | 78.1
Low (F) | 66.2
Sunny
Phoenix, AZ
High (F) | 104.3
Low (F) | 86
Patchy rain nearby
Salt Lake City, UT
High (F) | 95.2
Low (F) | 60.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
83,899 MW
23,899 MW
46,808 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend