## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 97.2 |  | 82.2 |  | 76.7 | 100.3
Low: |  | 70.6 |  | 60 |  | 63.5 | 76.1
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72213.6916 | 17 | 7123.0997 |  | 4693.89 | 17514.01
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18101.25 | 18 | 785 |  | 1176.5812 | 9044.7
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 48998.7258 | 18 | 4418.58 |  | 3594.58 | 15212.21
Includes CFE, CISO & LDWP
WI TOTAL |  | 139228.2952 | 18 | 12244.2405 |  | 9049.8392 | 40670.92
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 90489 | 17 | 14542
SRSG |  | 21473 | 16 | 3915
CAMX* |  | 49079 | 16 | 6726
WI TOTAL |  | 160396 | 16 | 25473
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 82.2
Low (F) | 60
Sunny |  | 72213.6916 | 79.62% | 79.62% | 20.38% | 72,214 MW
|  | 18101.25 | 61.09% | 61.09% | 38.91% | 18,101 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 92.7 | 48998.7258 | 79.81% | 79.81% | 20.19% | 48,999 MW
Low (F) | 63.5
Sunny
Billings, MT
High (F) | 103.6
Low (F) | 65.4
Sunny
Loveland, CO
High (F) | 97.3
Low (F) | 65.1
Sunny
Los Angeles, CA
High (F) | 78.8
Low (F) | 67.9
Patchy rain nearby
Phoenix, AZ
High (F) | 107.6
Low (F) | 88.3
Patchy rain nearby
Salt Lake City, UT
High (F) | 97.6
Low (F) | 64.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,214 MW
18,101 MW
48,999 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend