## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 104.6 |  | 55.6 |  | 69 | 99.6
Low: |  | 65.1 |  | 53.5 |  | 58.5 | 73.4
Conditions: |  | Sunny |  | Moderate rain |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 80925.0942 | 17 | 10389.3626 |  | 5260.1311 | 19701.44
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24748.2935 | 17 | 2104 |  | 1608.6391 | 8969.91
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 53645.0061 | 19 | 4472.6 |  | 3648.6 | 14497.52
Includes CFE, CISO & LDWP
WI TOTAL |  | 158662.912 | 18 | 17604.9674 |  | 9556.8974 | 41789.87
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 83651 | 16 | 15224
SRSG |  | 25846 | 17 | 3954
CAMX* |  | 51132 | 17 | 6493
WI TOTAL |  | 160509 | 17 | 25053
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 55.6
Low (F) | 53.5
Moderate rain |  | 80925.0942 | 89.23% | 89.23% | 10.77% | 80,925 MW
|  | 24748.2935 | 83.52% | 83.52% | 16.48% | 24,748 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 84.6 | 53645.0061 | 87.37% | 87.37% | 12.63% | 53,645 MW
Low (F) | 51.1
Sunny
Billings, MT
High (F) | 92.8
Low (F) | 63.1
Patchy rain nearby
Loveland, CO
High (F) | 94.4
Low (F) | 61.1
Patchy rain nearby
Los Angeles, CA
High (F) | 81.1
Low (F) | 70
Sunny
Phoenix, AZ
High (F) | 106.9
Low (F) | 84.5
Patchy rain nearby
Salt Lake City, UT
High (F) | 98.1
Low (F) | 67.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
80,925 MW
24,748 MW
53,645 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend