## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 103.8 |  | 65.6 |  | 76.8 | 95.7
Low: |  | 67.4 |  | 48.6 |  | 61.1 | 65.8
Conditions: |  | Sunny |  | Patchy rain nearby |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 78504.6253 | 17 | 10880.9692 |  | 5102.8006 | 20264.02
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23121.4405 | 17 | 2027 |  | 1502.8936 | 8322.32
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 47188.0873 | 19 | 4551 |  | 3462 | 13551.02
Includes CFE, CISO & LDWP
WI TOTAL |  | 148006.6196 | 18 | 17144.0884 |  | 8968.6734 | 40723.36
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 83406 | 17 | 15660
SRSG |  | 23153 | 17 | 4049
CAMX* |  | 48938 | 17 | 6950
WI TOTAL |  | 155497 | 17 | 26659
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 65.6
Low (F) | 48.6
Patchy rain nearby |  | 78504.6253 | 86.56% | 86.56% | 13.44% | 78,505 MW
|  | 23121.4405 | 78.03% | 78.03% | 21.97% | 23,121 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 94.4 | 47188.0873 | 76.86% | 76.86% | 23.14% | 47,188 MW
Low (F) | 56.7
Sunny
Billings, MT
High (F) | 70.5
Low (F) | 55.5
Partly Cloudy
Loveland, CO
High (F) | 63.8
Low (F) | 57.6
Patchy rain nearby
Los Angeles, CA
High (F) | 77.3
Low (F) | 66.9
Sunny
Phoenix, AZ
High (F) | 100.5
Low (F) | 87
Patchy rain nearby
Salt Lake City, UT
High (F) | 94
Low (F) | 65
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
78,505 MW
23,121 MW
47,188 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend