## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 102.3 |  | 70.8 |  | 75.7 | 90.9
Low: |  | 64.1 |  | 45.9 |  | 62.7 | 68.5
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 76885.1527 | 17 | 10516.9173 |  | 4997.5349 | 17640.38
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23282.6262 | 17 | 2055 |  | 1513.3707 | 8438.89
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 47477.9846 | 19 | 4443.69 |  | 3450.69 | 14932.43
Includes CFE, CISO & LDWP
WI TOTAL |  | 146869.5589 | 18 | 17099.2458 |  | 8903.9458 | 39550.7
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80602 | 16 | 15218
SRSG |  | 24547 | 16 | 4092
CAMX* |  | 47032 | 18 | 6360
WI TOTAL |  | 151524 | 17 | 24977
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 70.8
Low (F) | 45.9
Sunny |  | 76885.1527 | 84.77% | 84.77% | 15.23% | 76,885 MW
|  | 23282.6262 | 78.58% | 78.58% | 21.42% | 23,283 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 84.6 | 47477.9846 | 77.33% | 77.33% | 22.67% | 47,478 MW
Low (F) | 59.4
Sunny
Billings, MT
High (F) | 77.9
Low (F) | 52.5
Sunny
Loveland, CO
High (F) | 70.4
Low (F) | 53.3
Patchy rain nearby
Los Angeles, CA
High (F) | 78.1
Low (F) | 67.2
Sunny
Phoenix, AZ
High (F) | 100.9
Low (F) | 83
Patchy rain nearby
Salt Lake City, UT
High (F) | 93.9
Low (F) | 64.9
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
76,885 MW
23,283 MW
47,478 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend