## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 91 |  | 74.8 |  | 66.7 | 78.6
Low: |  | 59.5 |  | 51.2 |  | 56.4 | 66.5
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 75358.6907 | 17 | 12203.5977 |  | 4898.3149 | 17551.36
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23018.6701 | 17 | 1926 |  | 1496.2136 | 8892.84
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 45591.783 | 19 | 4197.73 |  | 3373.73 | 13874.82
Includes CFE, CISO & LDWP
WI TOTAL |  | 143184.3852 | 18 | 18406.5459 |  | 8793.5589 | 38862.02
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 76289 | 17 | 19236
SRSG |  | 23154 | 17 | 4153
CAMX* |  | 43891 | 17 | 6618
WI TOTAL |  | 143334 | 17 | 30007
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 74.8
Low (F) | 51.2
Sunny |  | 75358.6907 | 83.09% | 83.09% | 16.91% | 75,359 MW
|  | 23018.6701 | 77.69% | 77.69% | 22.31% | 23,019 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 76.9 | 45591.783 | 74.26% | 74.26% | 25.74% | 45,592 MW
Low (F) | 51.4
Sunny
Billings, MT
High (F) | 87
Low (F) | 55.3
Patchy rain nearby
Loveland, CO
High (F) | 85
Low (F) | 59
Sunny
Los Angeles, CA
High (F) | 77.9
Low (F) | 69.6
Sunny
Phoenix, AZ
High (F) | 102.2
Low (F) | 84.4
Patchy rain nearby
Salt Lake City, UT
High (F) | 90.2
Low (F) | 61.6
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
75,359 MW
23,019 MW
45,592 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend