## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 92.2 |  | 65.3 |  | 60.6 | 86.3
Low: |  | 61.6 |  | 50.9 |  | 56.1 | 60.7
Conditions: |  | Sunny |  | Patchy rain nearby |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72383.4326 | 17 | 7581.3838 |  | 4704.9231 | 19842.32
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23007.1633 | 17 | 975 |  | 1495.4656 | 9548.92
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 46079.5419 | 19 | 4466.98 |  | 3341.98 | 14093.56
Includes CFE, CISO & LDWP
WI TOTAL |  | 139653.5923 | 17 | 13064.9838 |  | 8665.7988 | 42344.8
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78771 | 17 | 15831
SRSG |  | 23340 | 17 | 3590
CAMX* |  | 48986 | 17 | 6217
WI TOTAL |  | 151097 | 17 | 25638
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 65.3
Low (F) | 50.9
Patchy rain nearby |  | 72383.4326 | 79.81% | 79.81% | 20.19% | 72,383 MW
|  | 23007.1633 | 77.65% | 77.65% | 22.35% | 23,007 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 74.7 | 46079.5419 | 75.05% | 75.05% | 24.95% | 46,080 MW
Low (F) | 53.2
Cloudy
Billings, MT
High (F) | 91.3
Low (F) | 62.9
Patchy rain nearby
Loveland, CO
High (F) | 93.1
Low (F) | 65.9
Patchy rain nearby
Los Angeles, CA
High (F) | 82.4
Low (F) | 71.4
Sunny
Phoenix, AZ
High (F) | 102.5
Low (F) | 86
Patchy rain nearby
Salt Lake City, UT
High (F) | 90.5
Low (F) | 64.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,383 MW
23,007 MW
46,080 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend