## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-26
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 94.1 |  | 75.7 |  | 62.5 | 99.6
Low: |  | 61.3 |  | 48.3 |  | 56.9 | 71.9
Conditions: |  | Sunny |  | Sunny |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69666.1357 | 18 | 13265.5183 |  | 4528.2988 | 17104.99
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22437.707 | 17 | 1775 |  | 1458.451 | 8467.27
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 44473.0386 | 19 | 2513.84 |  | 2890.7475 | 13440.58
Includes CFE, CISO & LDWP
WI TOTAL |  | 136045.3386 | 18 | 17901.3283 |  | 8842.947 | 37761.84
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67189 | 17 | 17818
SRSG |  | 22475 | 17 | 4093
CAMX* |  | 37481 | 18 | 5606
WI TOTAL |  | 126591 | 17 | 27888
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 75.7
Low (F) | 48.3
Sunny |  | 69666.1357 | 76.81% | 76.81% | 23.19% | 69,666 MW
|  | 22437.707 | 75.73% | 75.73% | 24.27% | 22,438 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 83.1 | 44473.0386 | 72.43% | 72.43% | 27.57% | 44,473 MW
Low (F) | 52.6
Sunny
Billings, MT
High (F) | 63
Low (F) | 56.4
Moderate rain
Loveland, CO
High (F) | 85.3
Low (F) | 58.1
Sunny
Los Angeles, CA
High (F) | 78.3
Low (F) | 68.4
Sunny
Phoenix, AZ
High (F) | 104.1
Low (F) | 88.3
Sunny
Salt Lake City, UT
High (F) | 75.5
Low (F) | 50.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,666 MW
22,438 MW
44,473 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend