## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-27
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 98.5 |  | 79.3 |  | 63.1 | 100.4
Low: |  | 65.9 |  | 47.1 |  | 54.7 | 74.7
Conditions: |  | Sunny |  | Patchy rain nearby |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70644.7178 | 17 | 12961.5479 |  | 4591.9067 | 18547.28
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22972.346 | 17 | 2019 |  | 1493.2025 | 8174.1
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 46684.7718 | 19 | 4548.95 |  | 3459.95 | 14835.76
Includes CFE, CISO & LDWP
WI TOTAL |  | 139585.1829 | 18 | 19242.4816 |  | 8406.7596 | 40430.14
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73680 | 17 | 17097
SRSG |  | 23173 | 17 | 4230
CAMX* |  | 45558 | 17 | 6203
WI TOTAL |  | 142411 | 17 | 27530
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 79.3
Low (F) | 47.1
Patchy rain nearby |  | 70644.7178 | 77.89% | 77.89% | 22.11% | 70,645 MW
|  | 22972.346 | 77.53% | 77.53% | 22.47% | 22,972 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 72.5 | 46684.7718 | 76.04% | 76.04% | 23.96% | 46,685 MW
Low (F) | 51.7
Patchy rain nearby
Billings, MT
High (F) | 89.6
Low (F) | 53.9
Sunny
Loveland, CO
High (F) | 84.5
Low (F) | 53.7
Sunny
Los Angeles, CA
High (F) | 78
Low (F) | 68.5
Sunny
Phoenix, AZ
High (F) | 105.4
Low (F) | 90.4
Sunny
Salt Lake City, UT
High (F) | 84.2
Low (F) | 51.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,645 MW
22,972 MW
46,685 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend