## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.1 |  | 72 |  | 67.3 | 96.5
Low: |  | 64.6 |  | 44.7 |  | 53.9 | 74.6
Conditions: |  | Sunny |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70248.6624 | 17 | 14552.8745 |  | 4566.1631 | 18609.29
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21935.7601 | 17 | 2090 |  | 1425.8244 | 8654.75
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 44258.6046 | 19 | 4460.55 |  | 3331.55 | 12654.82
Includes CFE, CISO & LDWP
WI TOTAL |  | 135328.8136 | 18 | 21676.8016 |  | 8480.3056 | 38787.86
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73550 | 17 | 17253
SRSG |  | 21272 | 17 | 4267
CAMX* |  | 45252 | 17 | 7063
WI TOTAL |  | 140074 | 17 | 28583
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 72
Low (F) | 44.7
Sunny |  | 70248.6624 | 77.46% | 77.46% | 22.54% | 70,249 MW
|  | 21935.7601 | 74.03% | 74.03% | 25.97% | 21,936 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 90.7 | 44258.6046 | 72.08% | 72.08% | 27.92% | 44,259 MW
Low (F) | 48.2
Sunny
Billings, MT
High (F) | 80.3
Low (F) | 53.2
Sunny
Loveland, CO
High (F) | 83.4
Low (F) | 60.3
Sunny
Los Angeles, CA
High (F) | 74.3
Low (F) | 64.9
Sunny
Phoenix, AZ
High (F) | 104.7
Low (F) | 86.7
Sunny
Salt Lake City, UT
High (F) | 78.3
Low (F) | 50.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,249 MW
21,936 MW
44,259 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend