## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-08-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 98.7 |  | 78.6 |  | 70.4 | 87.6
Low: |  | 62.6 |  | 49.6 |  | 58.7 | 73.2
Conditions: |  | Sunny |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72237.4894 | 17 | 14099.5696 |  | 4695.4368 | 16985.13
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21986.1019 | 17 | 2012 |  | 1429.0966 | 9015.73
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 44145.3589 | 19 | 4382.63 |  | 3293.63 | 13318.4
Includes CFE, CISO & LDWP
WI TOTAL |  | 137556.1342 | 18 | 20454.542 |  | 8492.829 | 38175.26
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74747 | 17 | 16493
SRSG |  | 23322 | 17 | 3922
CAMX* |  | 43126 | 17 | 6898
WI TOTAL |  | 141195 | 17 | 27313
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 78.6
Low (F) | 49.6
Sunny |  | 72237.4894 | 79.65% | 79.65% | 20.35% | 72,237 MW
|  | 21986.1019 | 74.2% | 74.2% | 25.8% | 21,986 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 92.8 | 44145.3589 | 71.9% | 71.9% | 28.1% | 44,145 MW
Low (F) | 54.9
Sunny
Billings, MT
High (F) | 91.6
Low (F) | 54.5
Sunny
Loveland, CO
High (F) | 87.3
Low (F) | 53.1
Sunny
Los Angeles, CA
High (F) | 74.7
Low (F) | 65.6
Sunny
Phoenix, AZ
High (F) | 106.9
Low (F) | 88.2
Sunny
Salt Lake City, UT
High (F) | 83.8
Low (F) | 50.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,237 MW
21,986 MW
44,145 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend