## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.4 |  | 76 |  | 65.6 | 85.4
Low: |  | 62 |  | 55.4 |  | 58.2 | 64.6
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71781.7169 | 17 | 12976.1099 |  | 4665.8116 | 17340.28
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21534.334 | 17 | 2340 |  | 1399.7317 | 8657.33
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 49942.4553 | 18 | 4501.73 |  | 3538.73 | 10868.31
Includes CFE, CISO & LDWP
WI TOTAL |  | 142622.366 | 18 | 20024.7574 |  | 8818.4014 | 35784.92
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74356 | 17 | 17727
SRSG |  | 22098 | 17 | 4420
CAMX* |  | 44610 | 17 | 6156
WI TOTAL |  | 141064 | 17 | 28303
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 5600 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 76
Low (F) | 55.4
Sunny |  | 71781.7169 | 79.15% | 79.15% | 20.85% | 71,782 MW
|  | 21534.334 | 72.68% | 72.68% | 27.32% | 21,534 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 81.2 | 49942.4553 | 81.34% | 81.34% | 18.66% | 49,942 MW
Low (F) | 56.1
Partly Cloudy
Billings, MT
High (F) | 92.3
Low (F) | 65.5
Patchy rain nearby
Loveland, CO
High (F) | 90.2
Low (F) | 59.1
Sunny
Los Angeles, CA
High (F) | 82.6
Low (F) | 70.6
Sunny
Phoenix, AZ
High (F) | 104.1
Low (F) | 88.6
Sunny
Salt Lake City, UT
High (F) | 86.8
Low (F) | 61.3
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,782 MW
21,534 MW
49,942 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend