## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 102.8 |  | 61.7 |  | 72.2 | 77.4
Low: |  | 69.8 |  | 50.9 |  | 58.7 | 66.3
Conditions: |  | Sunny |  | Patchy rain nearby |  | Sunny | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73125.8429 | 17 | 9295.3866 |  | 4753.1798 | 19098.81
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22796.1468 | 17 | 2002 |  | 1481.7495 | 8208.14
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 53825.6114 | 18 | 4659.56 |  | 3600.56 | 11961.68
Includes CFE, CISO & LDWP
WI TOTAL |  | 149338.961 | 18 | 16313.8964 |  | 9707.0325 | 38102.63
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77123 | 17 | 14888
SRSG |  | 23187 | 17 | 4019
CAMX* |  | 50690 | 17 | 5968
WI TOTAL |  | 151000 | 17 | 24875
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 560 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 61.7
Low (F) | 50.9
Patchy rain nearby |  | 73125.8429 | 80.63% | 80.63% | 19.37% | 73,126 MW
|  | 22796.1468 | 76.94% | 76.94% | 23.06% | 22,796 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 94 | 53825.6114 | 87.67% | 87.67% | 12.33% | 53,826 MW
Low (F) | 53.9
Sunny
Billings, MT
High (F) | 82.8
Low (F) | 56.3
Patchy rain nearby
Loveland, CO
High (F) | 78.2
Low (F) | 58.5
Patchy rain nearby
Los Angeles, CA
High (F) | 89.8
Low (F) | 71.7
Sunny
Phoenix, AZ
High (F) | 105.6
Low (F) | 89.7
Sunny
Salt Lake City, UT
High (F) | 78.5
Low (F) | 54.5
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,126 MW
22,796 MW
53,826 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend