## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 104.2 |  | 85.9 |  | 77.1 | 91
Low: |  | 72.2 |  | 53.4 |  | 64.4 | 69.4
Conditions: |  | Sunny |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 75603.8727 | 17 | 8433.834 |  | 4914.2517 | 18162.51
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23084.2701 | 17 | 1788 |  | 1500.4776 | 8471.01
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 57781.7553 | 18 | 4563.22 |  | 3907.22 | 10148.48
Includes CFE, CISO & LDWP
WI TOTAL |  | 156160.7541 | 17 | 14914.474 |  | 9463.609 | 35657
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 79805 | 17 | 13751
SRSG |  | 25693 | 16 | 3243
CAMX* |  | 58011 | 16 | 6809
WI TOTAL |  | 163315 | 16 | 25660
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 560 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 85.9
Low (F) | 53.4
Sunny |  | 75603.8727 | 83.36% | 83.36% | 16.64% | 75,604 MW
|  | 23084.2701 | 77.91% | 77.91% | 22.09% | 23,084 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 96.1 | 57781.7553 | 94.11% | 94.11% | 5.89% | 57,782 MW
Low (F) | 63.3
Sunny
Billings, MT
High (F) | 89.2
Low (F) | 54.1
Sunny
Loveland, CO
High (F) | 82.2
Low (F) | 52.6
Sunny
Los Angeles, CA
High (F) | 91
Low (F) | 77
Sunny
Phoenix, AZ
High (F) | 105.9
Low (F) | 92.1
Sunny
Salt Lake City, UT
High (F) | 86.6
Low (F) | 55.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
75,604 MW
23,084 MW
57,782 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend