## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.6 |  | 79.5 |  | 65.3 | 86.5
Low: |  | 69.3 |  | 53.7 |  | 58.3 | 50.9
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74356.3835 | 17 | 9081.3403 |  | 4833.1649 | 18337.29
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21739.7968 | 17 | 1864 |  | 1413.0868 | 9018.08
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 56336.3974 | 18 | 4248.15 |  | 3863.15 | 12900.47
Includes CFE, CISO & LDWP
WI TOTAL |  | 151811.4445 | 18 | 15534.7585 |  | 9275.5715 | 38921.84
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 75015 | 16 | 15926
SRSG |  | 22653 | 17 | 4066
CAMX* |  | 51830 | 18 | 5819
WI TOTAL |  | 149239 | 17 | 24935
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 560 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-09-08 | WACM | Path 31 |  | 4 | 4

## Map
Weather Information
Calgary, AB
High (F) | 79.5
Low (F) | 53.7
Sunny |  | 74356.3835 | 81.99% | 81.99% | 18.01% | 74,356 MW
|  | 21739.7968 | 73.37% | 73.37% | 26.63% | 21,740 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 81.3 | 56336.3974 | 91.76% | 91.76% | 8.244% | 56,336 MW
Low (F) | 55.7
Sunny
Billings, MT
High (F) | 93.7
Low (F) | 67.3
Sunny
Loveland, CO
High (F) | 88.1
Low (F) | 59.8
Patchy rain nearby
Los Angeles, CA
High (F) | 94.5
Low (F) | 80.6
Sunny
Phoenix, AZ
High (F) | 104.5
Low (F) | 87.7
Sunny
Salt Lake City, UT
High (F) | 89.3
Low (F) | 62
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,356 MW
21,740 MW
56,336 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend