## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-10
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 89.5 |  | 62.8 |  | 64.3 | 92.4
Low: |  | 59.4 |  | 46.5 |  | 56.2 | 56.2
Conditions: |  | Sunny |  | Patchy rain nearby |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70995.361 | 17 | 9374.1794 |  | 4614.6985 | 19466.42
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22103.7535 | 17 | 2005 |  | 1436.744 | 8077.02
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 50159.2809 | 18 | 4845.63 |  | 3446.63 | 12360.84
Includes CFE, CISO & LDWP
WI TOTAL |  | 142552.7495 | 18 | 16468.4742 |  | 9265.9287 | 38491.28
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 75741 | 17 | 15154
SRSG |  | 23103 | 17 | 3662
CAMX* |  | 55177 | 16 | 6673
WI TOTAL |  | 153925 | 17 | 25727
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 560 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-09-09 | WACM | Path 30 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 62.8
Low (F) | 46.5
Patchy rain nearby |  | 70995.361 | 78.28% | 78.28% | 21.72% | 70,995 MW
|  | 22103.7535 | 74.6% | 74.6% | 25.4% | 22,104 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 78.8 | 50159.2809 | 81.7% | 81.7% | 18.3% | 50,159 MW
Low (F) | 54.5
Patchy rain nearby
Billings, MT
High (F) | 84.5
Low (F) | 61.3
Sunny
Loveland, CO
High (F) | 86
Low (F) | 58.5
Patchy rain nearby
Los Angeles, CA
High (F) | 80.8
Low (F) | 70.6
Sunny
Phoenix, AZ
High (F) | 105.5
Low (F) | 87.5
Sunny
Salt Lake City, UT
High (F) | 88.2
Low (F) | 60.9
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,995 MW
22,104 MW
50,159 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend