## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 86.7 |  | 63.6 |  | 59 | 88.9
Low: |  | 56 |  | 44.9 |  | 53.6 | 65.9
Conditions: |  | Sunny |  | Patchy rain nearby |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66315.1332 | 17 | 9223.7121 |  | 4310.4837 | 20270.25
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21806.1841 | 17 | 1943 |  | 1417.402 | 8400.94
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41351.9395 | 19 | 4599.36 |  | 2980.36 | 11920.1
Includes CFE, CISO & LDWP
WI TOTAL |  | 128650.2191 | 18 | 15919.3716 |  | 8128.1346 | 39233.29
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72378 | 16 | 15887
SRSG |  | 23413 | 16 | 4021
CAMX* |  | 47194 | 17 | 6054
WI TOTAL |  | 142946 | 17 | 25472
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 560 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 63.6
Low (F) | 44.9
Patchy rain nearby |  | 66315.1332 | 73.12% | 73.12% | 26.88% | 66,315 MW
|  | 21806.1841 | 73.59% | 73.59% | 26.41% | 21,806 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 64.8 | 41351.9395 | 67.35% | 67.35% | 32.65% | 41,352 MW
Low (F) | 53.7
Moderate rain
Billings, MT
High (F) | 88.3
Low (F) | 58.9
Patchy rain nearby
Loveland, CO
High (F) | 85.2
Low (F) | 59.3
Patchy rain nearby
Los Angeles, CA
High (F) | 74.6
Low (F) | 65.7
Sunny
Phoenix, AZ
High (F) | 105.6
Low (F) | 88.5
Sunny
Salt Lake City, UT
High (F) | 88
Low (F) | 60.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,315 MW
21,806 MW
41,352 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend