## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 89.1 |  | 48.5 |  | 62.8 | 65.8
Low: |  | 56.9 |  | 46.7 |  | 54.7 | 62.5
Conditions: |  | Sunny |  | Heavy rain |  | Patchy rain nearby | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 64856.3366 | 17 | 13390.8109 |  | 4215.6619 | 19623.85
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20956.7209 | 17 | 2228 |  | 1317.25 | 8321.82
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 38950.5082 | 20 | 4449.1 |  | 2985.1 | 13876.21
Includes CFE, CISO & LDWP
WI TOTAL |  | 123795.0703 | 18 | 19148.2149 |  | 7993.4779 | 40371.88
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67538 | 16 | 18330
SRSG |  | 22653 | 17 | 5757
CAMX* |  | 40505 | 17 | 6506
WI TOTAL |  | 130491 | 17 | 30237
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-09-13
|  |  | W>E | 1200 MW |  | 560 MW | 2024-09-13
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2200 MW | 2024-09-12
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-09-11 | WACM | Path 30 |  | 4 | 2

## Map
Weather Information
Calgary, AB
High (F) | 48.5
Low (F) | 46.7
Heavy rain |  | 64856.3366 | 71.51% | 71.51% | 28.49% | 64,856 MW
|  | 20956.7209 | 70.73% | 70.73% | 29.27% | 20,957 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 65.3 | 38950.5082 | 63.44% | 63.44% | 36.56% | 38,951 MW
Low (F) | 53.5
Patchy rain nearby
Billings, MT
High (F) | 73.8
Low (F) | 55.3
Moderate rain
Loveland, CO
High (F) | 90.3
Low (F) | 53.2
Sunny
Los Angeles, CA
High (F) | 73.7
Low (F) | 65.3
Sunny
Phoenix, AZ
High (F) | 104.5
Low (F) | 85.2
Sunny
Salt Lake City, UT
High (F) | 66
Low (F) | 50.2
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
64,856 MW
20,957 MW
38,951 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend