## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 73.4 |  | 72.9 |  | 62.8 | 93.7
Low: |  | 55.9 |  | 45 |  | 54.7 | 69.1
Conditions: |  | Overcast |  | Sunny |  | Mist | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61253.2636 | 18 | 12470.3757 |  | 3981.4621 | 20491.21
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17959.9789 | 17 | 1809 |  | 1159.66 | 8040.85
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34063.3186 | 20 | 4282.29 |  | 2768.29 | 12853.95
Includes CFE, CISO & LDWP
WI TOTAL |  | 111867.6749 | 19 | 18515.6648 |  | 7397.4158 | 39784.01
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62468 | 17 | 17699
SRSG |  | 18447 | 16 | 5210
CAMX* |  | 34611 | 9 | 6116
WI TOTAL |  | 114149 | 17 | 28840
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 1200 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 1900 MW | 2024-09-20
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 72.9
Low (F) | 45
Sunny |  | 61253.2636 | 67.54% | 67.54% | 32.46% | 61,253 MW
|  | 17959.9789 | 60.61% | 60.61% | 39.39% | 17,960 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 74.5 | 34063.3186 | 55.48% | 55.48% | 44.52% | 34,063 MW
Low (F) | 56.1
Partly Cloudy
Billings, MT
High (F) | 63
Low (F) | 50.2
Patchy rain nearby
Loveland, CO
High (F) | 82.9
Low (F) | 43.5
Sunny
Los Angeles, CA
High (F) | 67.1
Low (F) | 59.9
Partly Cloudy
Phoenix, AZ
High (F) | 97.3
Low (F) | 70.5
Sunny
Salt Lake City, UT
High (F) | 72.7
Low (F) | 40.6
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,253 MW
17,960 MW
34,063 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend