## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 91.4 |  | 70.9 |  | 56.3 | 95.4
Low: |  | 55.9 |  | 47.7 |  | 52.7 | 68.2
Conditions: |  | Partly Cloudy |  | Partly Cloudy |  | Mist | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62549.7302 | 18 | 12941.6128 |  | 4065.7325 | 19199.79
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18381.2393 | 17 | 2008 |  | 1180.5 | 8054.57
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34580.2577 | 20 | 4340.84 |  | 2800.84 | 14598.12
Includes CFE, CISO & LDWP
WI TOTAL |  | 114278.0868 | 18 | 19132.5028 |  | 7534.6778 | 40493.48
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64175 | 17 | 15811
SRSG |  | 18350 | 17 | 4487
CAMX* |  | 34625 | 18 | 5558
WI TOTAL |  | 116558 | 17 | 26542
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 700 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 1900 MW | 2024-09-29
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 70.9
Low (F) | 47.7
Partly Cloudy |  | 62549.7302 | 68.97% | 68.97% | 31.03% | 62,550 MW
|  | 18381.2393 | 62.04% | 62.04% | 37.96% | 18,381 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 67.8 | 34580.2577 | 56.32% | 56.32% | 43.68% | 34,580 MW
Low (F) | 52.2
Partly Cloudy
Billings, MT
High (F) | 78.4
Low (F) | 47.8
Sunny
Loveland, CO
High (F) | 84.7
Low (F) | 46.4
Sunny
Los Angeles, CA
High (F) | 66.2
Low (F) | 60.4
Partly Cloudy
Phoenix, AZ
High (F) | 98.6
Low (F) | 72.7
Sunny
Salt Lake City, UT
High (F) | 73.9
Low (F) | 40.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,550 MW
18,381 MW
34,580 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend