## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 94.6 |  | 57.4 |  | 61.9 | 100.2
Low: |  | 57.9 |  | 40.3 |  | 51.1 | 71.8
Conditions: |  | Sunny |  | Overcast |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60977.892 | 17 | 12151.8843 |  | 3963.563 | 18796.92
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17810.7502 | 17 | 1928 |  | 1148.01 | 7850.17
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34775.8487 | 20 | 4806.18 |  | 2821.18 | 13260.08
Includes CFE, CISO & LDWP
WI TOTAL |  | 112355.0393 | 18 | 19080.4305 |  | 7477.6835 | 38516.17
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 65271 | 17 | 16472
SRSG |  | 19159 | 17 | 4167
CAMX* |  | 35063 | 19 | 5319
WI TOTAL |  | 118482 | 17 | 26533
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 700 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 1900 MW | 2024-09-29
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 57.4
Low (F) | 40.3
Overcast |  | 60977.892 | 67.23% | 67.23% | 32.77% | 60,978 MW
|  | 17810.7502 | 60.11% | 60.11% | 39.89% | 17,811 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 68.2 | 34775.8487 | 56.64% | 56.64% | 43.36% | 34,776 MW
Low (F) | 50.7
Overcast
Billings, MT
High (F) | 79.7
Low (F) | 46.8
Sunny
Loveland, CO
High (F) | 88.9
Low (F) | 52.7
Sunny
Los Angeles, CA
High (F) | 65.7
Low (F) | 59.5
Mist
Phoenix, AZ
High (F) | 97.3
Low (F) | 73.6
Sunny
Salt Lake City, UT
High (F) | 79.5
Low (F) | 43.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,978 MW
17,811 MW
34,776 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend