## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-09-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 100 |  | 57.9 |  | 56.7 | 87.3
Low: |  | 61.5 |  | 32.2 |  | 46 | 69.3
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61895.0541 | 17 | 6799.0788 |  | 4023.1785 | 19078.37
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21989.0241 | 17 | 962 |  | 1334.22 | 9027.82
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41855.2286 | 19 | 4128.9 |  | 3083.9 | 13347.48
Includes CFE, CISO & LDWP
WI TOTAL |  | 124217.0093 | 17 | 11974.3888 |  | 8086.1568 | 40330.67
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66466 | 17 | 19004
SRSG |  | 20673 | 16 | 4509
CAMX* |  | 35208 | 17 | 5752
WI TOTAL |  | 122262 | 17 | 28426
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 700 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 1900 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-09-29 | WACM | Path 36 |  | 4 | 8

## Map
Weather Information
Calgary, AB
High (F) | 57.9
Low (F) | 32.2
Sunny |  | 61895.0541 | 68.25% | 68.25% | 31.75% | 61,895 MW
|  | 21989.0241 | 74.21% | 74.21% | 25.79% | 21,989 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 76.1 | 41855.2286 | 68.17% | 68.17% | 31.83% | 41,855 MW
Low (F) | 45.7
Sunny
Billings, MT
High (F) | 63.1
Low (F) | 42.6
Sunny
Loveland, CO
High (F) | 89.1
Low (F) | 48.2
Sunny
Los Angeles, CA
High (F) | 67.3
Low (F) | 59.4
Partly Cloudy
Phoenix, AZ
High (F) | 108.7
Low (F) | 80.2
Sunny
Salt Lake City, UT
High (F) | 69.4
Low (F) | 48.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,895 MW
21,989 MW
41,855 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend