## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 107.4 |  | 56.8 |  | 58.6 | 89.1
Low: |  | 67.8 |  | 32.7 |  | 46.6 | 57.2
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62463.7028 | 18 | 9955.0357 |  | 4060.1407 | 21408.63
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21678.2512 | 17 | 1581 |  | 1409.0863 | 9292.66
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 47651.7012 | 18 | 3919.75 |  | 3062.75 | 16581.37
Includes CFE, CISO & LDWP
WI TOTAL |  | 131431.6293 | 18 | 15535.7857 |  | 8543.0559 | 46959.66
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67515 | 17 | 14468
SRSG |  | 21911 | 16 | 4546
CAMX* |  | 49030 | 17 | 6311
WI TOTAL |  | 138243 | 17 | 24242
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 0 MW | 2024-10-04
|  |  | W>E | 1200 MW |  | 0 MW | 2024-10-04
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 1200 MW | 2024-10-03
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 56.8
Low (F) | 32.7
Sunny |  | 62463.7028 | 68.87% | 68.87% | 31.13% | 62,464 MW
|  | 21678.2512 | 73.16% | 73.16% | 26.84% | 21,678 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 77.9 | 47651.7012 | 77.61% | 77.61% | 22.39% | 47,652 MW
Low (F) | 47.7
Sunny
Billings, MT
High (F) | 67.1
Low (F) | 34.2
Sunny
Loveland, CO
High (F) | 72.7
Low (F) | 46.6
Sunny
Los Angeles, CA
High (F) | 69.3
Low (F) | 60.6
Partly Cloudy
Phoenix, AZ
High (F) | 109.6
Low (F) | 77.5
Sunny
Salt Lake City, UT
High (F) | 79.2
Low (F) | 49.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,464 MW
21,678 MW
47,652 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend