## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 101.8 |  | 67.8 |  | 56.3 | 92.7
Low: |  | 72.3 |  | 34.5 |  | 49.9 | 62.1
Conditions: |  | Sunny |  | Overcast |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63798.0948 | 18 | 9561.1603 |  | 4146.8762 | 22353.25
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21448.036 | 17 | 1656 |  | 1297.59 | 9089.42
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 45423.3639 | 18 | 4562.48 |  | 3403.48 | 16421
Includes CFE, CISO & LDWP
WI TOTAL |  | 130366.1499 | 18 | 15716.6403 |  | 8057.769 | 47615.67
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61219 | 8 | 17190
SRSG |  | 22410 | 16 | 3898
CAMX* |  | 47954 | 16 | 6852
WI TOTAL |  | 126624 | 16 | 25019
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 0 MW | 2024-10-04
|  |  | W>E | 1200 MW |  | 0 MW | 2024-10-04
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW | 2024-10-06
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 67.8
Low (F) | 34.5
Overcast |  | 63798.0948 | 70.34% | 70.34% | 29.66% | 63,798 MW
|  | 21448.036 | 72.39% | 72.39% | 27.61% | 21,448 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.2 | 45423.3639 | 73.98% | 73.98% | 26.02% | 45,423 MW
Low (F) | 48.9
Moderate rain
Billings, MT
High (F) | 85.8
Low (F) | 34.9
Sunny
Loveland, CO
High (F) | 83.3
Low (F) | 37.6
Sunny
Los Angeles, CA
High (F) | 69.8
Low (F) | 61.7
Partly Cloudy
Phoenix, AZ
High (F) | 110.5
Low (F) | 75
Sunny
Salt Lake City, UT
High (F) | 92.8
Low (F) | 47.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,798 MW
21,448 MW
45,423 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend