## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 106.2 |  | 71.6 |  | 64 | 80.4
Low: |  | 72 |  | 39 |  | 51.6 | 64.4
Conditions: |  | Partly Cloudy |  | Sunny |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 64545.5909 | 18 | 9263.5858 |  | 4195.4634 | 18849.49
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21224.2012 | 17 | 1746 |  | 1379.5731 | 10716.6
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 46457.5662 | 18 | 4322.64 |  | 3405.64 | 16141.47
Includes CFE, CISO & LDWP
WI TOTAL |  | 131867.0216 | 18 | 15347.2258 |  | 8162.3338 | 45449.56
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64812 | 18 | 13788
SRSG |  | 22274 | 16 | 3939
CAMX* |  | 44232 | 17 | 5615
WI TOTAL |  | 131108 | 17 | 23053
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW | 2024-10-08
|  |  | W>E | 1200 MW |  | 850 MW | 2024-10-08
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW | 2024-10-08
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-10-06 | WACM | Path 31 |  | 4 | 1

## Map
Weather Information
Calgary, AB
High (F) | 71.6
Low (F) | 39
Sunny |  | 64545.5909 | 71.17% | 71.17% | 28.83% | 64,546 MW
|  | 21224.2012 | 71.63% | 71.63% | 28.37% | 21,224 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 84.2 | 46457.5662 | 75.67% | 75.67% | 24.33% | 46,458 MW
Low (F) | 48.2
Sunny
Billings, MT
High (F) | 81.5
Low (F) | 41.5
Sunny
Loveland, CO
High (F) | 85.3
Low (F) | 43.9
Sunny
Los Angeles, CA
High (F) | 68.7
Low (F) | 61.5
Partly Cloudy
Phoenix, AZ
High (F) | 109.6
Low (F) | 75.9
Sunny
Salt Lake City, UT
High (F) | 81.1
Low (F) | 46.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
64,546 MW
21,224 MW
46,458 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend