## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 105.8 |  | 68.9 |  | 61.2 | 75.9
Low: |  | 68.9 |  | 41.2 |  | 54.3 | 57
Conditions: |  | Sunny |  | Sunny |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63607.9976 | 18 | 7852.9531 |  | 4057.7961 | 20189.31
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20919.4519 | 17 | 1605 |  | 1359.7644 | 10603.73
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 43475.3905 | 18 | 4408.8 |  | 3296.8 | 17906.15
Includes CFE, CISO & LDWP
WI TOTAL |  | 127664.8863 | 18 | 13969.7531 |  | 8575.4761 | 48464.19
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67421 | 17 | 11732
SRSG |  | 22092 | 16 | 3151
CAMX* |  | 47527 | 16 | 6336
WI TOTAL |  | 136983 | 16 | 22771
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW | 2024-10-08
|  |  | W>E | 1200 MW |  | 850 MW | 2024-10-08
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW | 2024-10-08
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 68.9
Low (F) | 41.2
Sunny |  | 63607.9976 | 70.13% | 70.13% | 29.87% | 63,608 MW
|  | 20919.4519 | 70.6% | 70.6% | 29.4% | 20,919 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 62.8 | 43475.3905 | 70.81% | 70.81% | 29.19% | 43,475 MW
Low (F) | 56.1
Overcast
Billings, MT
High (F) | 83.3
Low (F) | 42.1
Sunny
Loveland, CO
High (F) | 84.4
Low (F) | 48.7
Sunny
Los Angeles, CA
High (F) | 70.2
Low (F) | 62.1
Partly Cloudy
Phoenix, AZ
High (F) | 108.3
Low (F) | 75.2
Sunny
Salt Lake City, UT
High (F) | 84
Low (F) | 50.4
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,608 MW
20,919 MW
43,475 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend