## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 94.1 |  | 64.8 |  | 52.7 | 82.6
Low: |  | 62.8 |  | 45.1 |  | 48.6 | 55.9
Conditions: |  | Sunny |  | Overcast |  | Mist | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63220.1977 | 18 | 9424.1645 |  | 4109.3128 | 20048.05
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20182.1088 | 17 | 1600 |  | 1220.13 | 10783.05
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41662.5511 | 18 | 4196.54 |  | 3209.54 | 17903.56
Includes CFE, CISO & LDWP
WI TOTAL |  | 124786.7655 | 18 | 15316.7045 |  | 7902.1405 | 48553.66
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67092 | 17 | 14156
SRSG |  | 21437 | 16 | 3247
CAMX* |  | 43728 | 16 | 5958
WI TOTAL |  | 132058 | 17 | 22143
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW
|  |  | W>E | 1200 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 64.8
Low (F) | 45.1
Overcast |  | 63220.1977 | 69.71% | 69.71% | 30.29% | 63,220 MW
|  | 20182.1088 | 68.11% | 68.11% | 31.89% | 20,182 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 62.4 | 41662.5511 | 67.86% | 67.86% | 32.14% | 41,663 MW
Low (F) | 49.4
Cloudy
Billings, MT
High (F) | 86.5
Low (F) | 43.7
Sunny
Loveland, CO
High (F) | 84.4
Low (F) | 46.6
Sunny
Los Angeles, CA
High (F) | 70.3
Low (F) | 61.5
Partly Cloudy
Phoenix, AZ
High (F) | 102.6
Low (F) | 75.2
Sunny
Salt Lake City, UT
High (F) | 86
Low (F) | 46.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,220 MW
20,182 MW
41,663 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend