## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 88.3 |  | 56.1 |  | 66.2 | 90.5
Low: |  | 54.5 |  | 35.1 |  | 51.4 | 62.1
Conditions: |  | Sunny |  | Overcast |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60085.728 | 18 | 8960.634 |  | 3905.5723 | 19244.21
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20003.8514 | 17 | 1696 |  | 1300.2503 | 11558.51
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36482.2787 | 19 | 3956.49 |  | 2897.49 | 17043.73
Includes CFE, CISO & LDWP
WI TOTAL |  | 116058.6469 | 18 | 14635.174 |  | 7315.043 | 47595.45
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64846 | 18 | 12668
SRSG |  | 21196 | 16 | 3267
CAMX* |  | 38820 | 17 | 6197
WI TOTAL |  | 124428 | 16 | 23971
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW
|  |  | W>E | 1200 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 56.1
Low (F) | 35.1
Overcast |  | 60085.728 | 66.25% | 66.25% | 33.75% | 60,086 MW
|  | 20003.8514 | 67.51% | 67.51% | 32.49% | 20,004 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 75.9 | 36482.2787 | 59.42% | 59.42% | 40.58% | 36,482 MW
Low (F) | 53.1
Cloudy
Billings, MT
High (F) | 73.8
Low (F) | 41.4
Sunny
Loveland, CO
High (F) | 72.7
Low (F) | 48
Partly Cloudy
Los Angeles, CA
High (F) | 70.2
Low (F) | 62.4
Partly Cloudy
Phoenix, AZ
High (F) | 107.1
Low (F) | 73.2
Sunny
Salt Lake City, UT
High (F) | 87.6
Low (F) | 54
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,086 MW
20,004 MW
36,482 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend