## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-16
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 79.2 |  | 62.2 |  | 52.9 | 64.6
Low: |  | 55.8 |  | 42.8 |  | 47.8 | 45.9
Conditions: |  | Partly Cloudy |  | Overcast |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61418.1723 | 18 | 8707.4807 |  | 3992.1812 | 21959.11
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17042.0754 | 17 | 1644 |  | 1086.56 | 11941.2
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33980.2192 | 19 | 4089.64 |  | 2820.64 | 17503.7
Includes CFE, CISO & LDWP
WI TOTAL |  | 111831.5356 | 19 | 14938.0401 |  | 7361.1891 | 51285.01
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64527 | 17 | 14050
SRSG |  | 18243 | 16 | 3263
CAMX* |  | 35513 | 18 | 5146
WI TOTAL |  | 118077 | 17 | 22657
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 62.2
Low (F) | 42.8
Overcast |  | 61418.1723 | 67.72% | 67.72% | 32.28% | 61,418 MW
|  | 17042.0754 | 57.52% | 57.52% | 42.48% | 17,042 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 57.9 | 33980.2192 | 55.34% | 55.34% | 44.66% | 33,980 MW
Low (F) | 50
Moderate rain
Billings, MT
High (F) | 85.5
Low (F) | 42.8
Sunny
Loveland, CO
High (F) | 82.2
Low (F) | 38.7
Sunny
Los Angeles, CA
High (F) | 63.3
Low (F) | 59.4
Overcast
Phoenix, AZ
High (F) | 97.5
Low (F) | 66.7
Sunny
Salt Lake City, UT
High (F) | 77.4
Low (F) | 48.6
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,418 MW
17,042 MW
33,980 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend