## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-17
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 75.2 |  | 52.2 |  | 48.4 | 71.4
Low: |  | 53.8 |  | 32.7 |  | 45.1 | 45
Conditions: |  | Partly Cloudy |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60938.8785 | 19 | 9067.5512 |  | 3961.0271 | 21737.2
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15941.8053 | 17 | 1731 |  | 1036.2173 | 11710.87
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33239.0666 | 20 | 4081.99 |  | 2734.99 | 19763.72
Includes CFE, CISO & LDWP
WI TOTAL |  | 109516.3879 | 19 | 15353.1512 |  | 7152.8812 | 53033.79
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63754 | 18 | 15463
SRSG |  | 17386 | 17 | 3366
CAMX* |  | 35793 | 14 | 5736
WI TOTAL |  | 114657 | 18 | 23604
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 52.2
Low (F) | 32.7
Sunny |  | 60938.8785 | 67.19% | 67.19% | 32.81% | 60,939 MW
|  | 15941.8053 | 53.8% | 53.8% | 46.2% | 15,942 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 55.6 | 33239.0666 | 54.14% | 54.14% | 45.86% | 33,239 MW
Low (F) | 45.9
Patchy rain nearby
Billings, MT
High (F) | 53.4
Low (F) | 37.8
Moderate rain
Loveland, CO
High (F) | 72.3
Low (F) | 43.7
Partly Cloudy
Los Angeles, CA
High (F) | 64.8
Low (F) | 60.3
Overcast
Phoenix, AZ
High (F) | 91.8
Low (F) | 68.7
Sunny
Salt Lake City, UT
High (F) | 60.6
Low (F) | 39.9
Heavy rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,939 MW
15,942 MW
33,239 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend