## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 80.2 |  | 49.3 |  | 47.7 | 76.3
Low: |  | 46.2 |  | 28.9 |  | 45.5 | 45.9
Conditions: |  | Sunny |  | Partly Cloudy |  | Heavy rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59268.4217 | 9 | 9809.0036 |  | 3852.4474 | 21442.73
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13747.4404 | 17 | 1776 |  | 893.5836 | 12102.54
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31488.9651 | 20 | 4056.21 |  | 2652.21 | 18594.47
Includes CFE, CISO & LDWP
WI TOTAL |  | 103729.877 | 19 | 14630.574 |  | 6902.16 | 51882.74
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63453 | 18 | 15375
SRSG |  | 16135 | 17 | 3573
CAMX* |  | 33710 | 9 | 5178
WI TOTAL |  | 112691 | 18 | 23154
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 49.3
Low (F) | 28.9
Partly Cloudy |  | 59268.4217 | 65.35% | 65.35% | 34.65% | 59,268 MW
|  | 13747.4404 | 46.4% | 46.4% | 53.6% | 13,747 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.5 | 31488.9651 | 51.29% | 51.29% | 48.71% | 31,489 MW
Low (F) | 47.8
Overcast
Billings, MT
High (F) | 54.3
Low (F) | 39.2
Overcast
Loveland, CO
High (F) | 54.7
Low (F) | 41
Overcast
Los Angeles, CA
High (F) | 78.3
Low (F) | 59
Sunny
Phoenix, AZ
High (F) | 77.5
Low (F) | 62.2
Patchy rain nearby
Salt Lake City, UT
High (F) | 50.5
Low (F) | 34.3
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,268 MW
13,747 MW
31,489 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend