## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 83.5 |  | 37.4 |  | 48.4 | 84.4
Low: |  | 57.2 |  | 29.1 |  | 45 | 53.8
Conditions: |  | Sunny |  | Overcast |  | Fog | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61077.6221 | 19 | 9395.2516 |  | 3970.0454 | 19653.31
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14231.6778 | 18 | 1581 |  | 925.0591 | 10892.82
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34429.4486 | 19 | 3944.24 |  | 2808.24 | 16682.18
Includes CFE, CISO & LDWP
WI TOTAL |  | 109591.4894 | 19 | 14918.4916 |  | 7110.9316 | 47150.31
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61191 | 18 | 16319
SRSG |  | 13646 | 18 | 3156
CAMX* |  | 31261 | 19 | 4190
WI TOTAL |  | 106073 | 18 | 24377
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 37.4
Low (F) | 29.1
Overcast |  | 61077.6221 | 67.34% | 67.34% | 32.66% | 61,078 MW
|  | 14231.6778 | 48.03% | 48.03% | 51.97% | 14,232 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 55.4 | 34429.4486 | 56.08% | 56.08% | 43.92% | 34,429 MW
Low (F) | 48.2
Patchy rain nearby
Billings, MT
High (F) | 75.2
Low (F) | 42.1
Sunny
Loveland, CO
High (F) | 75.6
Low (F) | 40.1
Sunny
Los Angeles, CA
High (F) | 74.1
Low (F) | 60.1
Partly Cloudy
Phoenix, AZ
High (F) | 90.9
Low (F) | 58.3
Sunny
Salt Lake City, UT
High (F) | 69.8
Low (F) | 37.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,078 MW
14,232 MW
34,429 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend