## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 85.8 |  | 49.6 |  | 44.2 | 91
Low: |  | 56.7 |  | 27.5 |  | 42.1 | 66
Conditions: |  | Sunny |  | Sunny |  | Fog | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62018.2841 | 19 | 8551.1734 |  | 4031.1885 | 20035.51
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16734.1699 | 17 | 1467 |  | 1087.721 | 11635.24
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 35006.543 | 19 | 4159.94 |  | 2855.94 | 18848.05
Includes CFE, CISO & LDWP
WI TOTAL |  | 113101.2595 | 19 | 14200.1134 |  | 7240.7924 | 50336.8
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64213 | 18 | 12787
SRSG |  | 16083 | 17 | 2812
CAMX* |  | 34890 | 18 | 5038
WI TOTAL |  | 114803 | 18 | 20486
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 49.6
Low (F) | 27.5
Sunny |  | 62018.2841 | 68.38% | 68.38% | 31.62% | 62,018 MW
|  | 16734.1699 | 56.48% | 56.48% | 43.52% | 16,734 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 58.3 | 35006.543 | 57.02% | 57.02% | 42.98% | 35,007 MW
Low (F) | 45.7
Overcast
Billings, MT
High (F) | 65.5
Low (F) | 30
Cloudy
Loveland, CO
High (F) | 73
Low (F) | 38.5
Sunny
Los Angeles, CA
High (F) | 74.1
Low (F) | 59.2
Partly Cloudy
Phoenix, AZ
High (F) | 99
Low (F) | 62.1
Sunny
Salt Lake City, UT
High (F) | 72.9
Low (F) | 42.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,018 MW
16,734 MW
35,007 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend