## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 82 |  | 42.8 |  | 46.2 | 87.6
Low: |  | 52.3 |  | 31.1 |  | 41.2 | 60.1
Conditions: |  | Sunny |  | Partly Cloudy |  | Fog | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61509.9033 | 8 | 9986.0279 |  | 3998.1437 | 20205.19
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16414.5974 | 17 | 1479 |  | 1066.9488 | 11330.09
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34040.8815 | 19 | 3745.12 |  | 2821.12 | 18858.64
Includes CFE, CISO & LDWP
WI TOTAL |  | 111238.6304 | 19 | 14955.0047 |  | 7155.5017 | 50287.92
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64777 | 14 | 11037
SRSG |  | 16368 | 12 | 4233
CAMX* |  | 35169 | 14 | 4797
WI TOTAL |  | 116093 | 14 | 18573
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 42.8
Low (F) | 31.1
Partly Cloudy |  | 61509.9033 | 67.82% | 67.82% | 32.18% | 61,510 MW
|  | 16414.5974 | 55.4% | 55.4% | 44.6% | 16,415 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 57.7 | 34040.8815 | 55.44% | 55.44% | 44.56% | 34,041 MW
Low (F) | 35.6
Cloudy
Billings, MT
High (F) | 56.7
Low (F) | 35.4
Moderate rain
Loveland, CO
High (F) | 74.7
Low (F) | 40.5
Sunny
Los Angeles, CA
High (F) | 71.8
Low (F) | 56.8
Partly Cloudy
Phoenix, AZ
High (F) | 93
Low (F) | 65.1
Sunny
Salt Lake City, UT
High (F) | 53.1
Low (F) | 35.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,510 MW
16,415 MW
34,041 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend