## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77.5 |  | 42.3 |  | 50.4 | 88
Low: |  | 56.7 |  | 26.2 |  | 39.6 | 66.9
Conditions: |  | Partly Cloudy |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61384.4479 | 8 | 9687.671 |  | 3989.9891 | 21539.72
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16065.6548 | 17 | 1470 |  | 1044.2676 | 11466.24
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32823.6645 | 19 | 3565.89 |  | 2771.89 | 17809.86
Includes CFE, CISO & LDWP
WI TOTAL |  | 107269.6834 | 19 | 14096.079 |  | 7023.911 | 50697.82
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64623 | 7 | 15201
SRSG |  | 16984 | 16 | 4075
CAMX* |  | 34175 | 18 | 4773
WI TOTAL |  | 114373 | 18 | 21048
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-10-24 | NWMT | Path 80 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 42.3
Low (F) | 26.2
Sunny |  | 61384.4479 | 67.68% | 67.68% | 32.32% | 61,384 MW
|  | 16065.6548 | 54.22% | 54.22% | 45.78% | 16,066 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 64.5 | 32823.6645 | 53.46% | 53.46% | 46.54% | 32,824 MW
Low (F) | 42.4
Sunny
Billings, MT
High (F) | 56.2
Low (F) | 29.3
Sunny
Loveland, CO
High (F) | 65.7
Low (F) | 32.5
Sunny
Los Angeles, CA
High (F) | 77
Low (F) | 57.2
Partly Cloudy
Phoenix, AZ
High (F) | 93
Low (F) | 64.2
Sunny
Salt Lake City, UT
High (F) | 63.9
Low (F) | 32.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,384 MW
16,066 MW
32,824 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend