## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-28
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 68 |  | 50.2 |  | 49.5 | 90.9
Low: |  | 50.2 |  | 31.6 |  | 45.3 | 64.2
Conditions: |  | Sunny |  | Partly Cloudy |  | Patchy rain nearby | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62302.083 | 19 | 9501.1148 |  | 4049.6354 | 17828.26
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15573.5711 | 17 | 1453 |  | 1012.2821 | 11237.84
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31889.5533 | 19 | 3852.14 |  | 2716.14 | 16817.19
Includes CFE, CISO & LDWP
WI TOTAL |  | 109432.4583 | 19 | 14841.2548 |  | 7057.6278 | 45726.29
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62084 | 18 | 17082
SRSG |  | 16644 | 17 | 3106
CAMX* |  | 32245 | 18 | 4467
WI TOTAL |  | 110539 | 18 | 24863
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 50.2
Low (F) | 31.6
Partly Cloudy |  | 62302.083 | 68.69% | 68.69% | 31.31% | 62,302 MW
|  | 15573.5711 | 52.56% | 52.56% | 47.44% | 15,574 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.6 | 31889.5533 | 51.94% | 51.94% | 48.06% | 31,890 MW
Low (F) | 46
Overcast
Billings, MT
High (F) | 53.1
Low (F) | 34.2
Overcast
Loveland, CO
High (F) | 76.5
Low (F) | 47.5
Cloudy
Los Angeles, CA
High (F) | 63
Low (F) | 61
Overcast
Phoenix, AZ
High (F) | 93.7
Low (F) | 60.3
Sunny
Salt Lake City, UT
High (F) | 58.5
Low (F) | 41.7
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,302 MW
15,574 MW
31,890 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend