## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 69.4 |  | 43.5 |  | 45.9 | 85.6
Low: |  | 44.6 |  | 28.4 |  | 41.9 | 64.8
Conditions: |  | Sunny |  | Sunny |  | Fog | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61413.4216 | 19 | 8472.5649 |  | 3991.8724 | 18205.38
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12922.2303 | 18 | 1359 |  | 839.945 | 12526.19
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31617.3233 | 20 | 3899.05 |  | 2657.05 | 18878.94
Includes CFE, CISO & LDWP
WI TOTAL |  | 105774.8831 | 19 | 13675.3749 |  | 6893.1229 | 49396.51
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64608 | 18 | 14288
SRSG |  | 15943 | 16 | 4180
CAMX* |  | 32657 | 18 | 5065
WI TOTAL |  | 113072 | 18 | 21949
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 43.5
Low (F) | 28.4
Sunny |  | 61413.4216 | 67.71% | 67.71% | 32.29% | 61,413 MW
|  | 12922.2303 | 43.61% | 43.61% | 56.39% | 12,922 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.6 | 31617.3233 | 51.5% | 51.5% | 48.5% | 31,617 MW
Low (F) | 43
Cloudy
Billings, MT
High (F) | 49.5
Low (F) | 35.3
Overcast
Loveland, CO
High (F) | 59.9
Low (F) | 35.7
Partly Cloudy
Los Angeles, CA
High (F) | 71.1
Low (F) | 56.1
Sunny
Phoenix, AZ
High (F) | 73
Low (F) | 54
Sunny
Salt Lake City, UT
High (F) | 41.5
Low (F) | 36.1
Heavy rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,413 MW
12,922 MW
31,617 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend