## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-10-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 60.4 |  | 48.7 |  | 43.5 | 72.3
Low: |  | 46.8 |  | 23.5 |  | 41.7 | 63.5
Conditions: |  | Partly Cloudy |  | Sunny |  | Heavy rain | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62380.3488 | 8 | 9042.2383 |  | 4054.7227 | 17915.07
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12787.8898 | 19 | 1562 |  | 831.2128 | 11928.23
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31593.161 | 19 | 3628.42 |  | 2704.42 | 19878.19
Includes CFE, CISO & LDWP
WI TOTAL |  | 106653.9645 | 19 | 13389.9139 |  | 6946.6739 | 49594.49
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64767 | 18 | 13391
SRSG |  | 13432 | 18 | 3503
CAMX* |  | 32058 | 18 | 5015
WI TOTAL |  | 110257 | 18 | 21909
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-10-29 | WACM | Path 30 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 48.7
Low (F) | 23.5
Sunny |  | 62380.3488 | 68.78% | 68.78% | 31.22% | 62,380 MW
|  | 12787.8898 | 43.16% | 43.16% | 56.84% | 12,788 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48 | 31593.161 | 51.46% | 51.46% | 48.54% | 31,593 MW
Low (F) | 45.1
Heavy rain
Billings, MT
High (F) | 52.7
Low (F) | 24.4
Sunny
Loveland, CO
High (F) | 43
Low (F) | 25
Partly Cloudy
Los Angeles, CA
High (F) | 68.7
Low (F) | 55.6
Sunny
Phoenix, AZ
High (F) | 71.8
Low (F) | 52.7
Sunny
Salt Lake City, UT
High (F) | 45
Low (F) | 28.7
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,380 MW
12,788 MW
31,593 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend