## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-01
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.1 |  | 37.3 |  | 47.9 | 67.7
Low: |  | 46.4 |  | 25.6 |  | 41.4 | 50.9
Conditions: |  | Patchy rain nearby |  | Partly Cloudy |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61525.6564 | 8 | 12070.8538 |  | 3763.5128 | 17359.3
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12418.3114 | 18 | 1590 |  | 807.1902 | 11885.77
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30650.8404 | 19 | 3996.82 |  | 2667.82 | 17437.36
Includes CFE, CISO & LDWP
WI TOTAL |  | 104003.4017 | 19 | 17402.2996 |  | 6964.8926 | 46616.43
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 65676 | 7 | 14297
SRSG |  | 12482 | 17 | 4001
CAMX* |  | 32037 | 8 | 5390
WI TOTAL |  | 108948 | 8 | 24483
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
10-31/11-01 | WACM | Path 36 |  | 4 | 8

## Map
Weather Information
Calgary, AB
High (F) | 37.3
Low (F) | 25.6
Partly Cloudy |  | 61525.6564 | 64.5% | 64.5% | 35.5% | 61,526 MW
|  | 12418.3114 | 50.08% | 50.08% | 49.92% | 12,418 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.2 | 30650.8404 | 58.27% | 58.27% | 41.73% | 30,651 MW
Low (F) | 44.4
Patchy rain nearby
Billings, MT
High (F) | 52.9
Low (F) | 26.1
Partly Cloudy
Loveland, CO
High (F) | 56.7
Low (F) | 29.7
Sunny
Los Angeles, CA
High (F) | 63.3
Low (F) | 54.5
Partly Cloudy
Phoenix, AZ
High (F) | 79.9
Low (F) | 64.3
Sunny
Salt Lake City, UT
High (F) | 51
Low (F) | 36.5
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,526 MW
12,418 MW
30,651 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend