## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 76.3 |  | 39.6 |  | 52.2 | 85.1
Low: |  | 46.4 |  | 24.3 |  | 42.8 | 70.7
Conditions: |  | Sunny |  | Partly Cloudy |  | Heavy rain | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66324.9145 | 18 | 8704.8803 |  | 4311.1194 | 17291.47
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12960.8188 | 18 | 1575 |  | 842.4532 | 11323.08
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32881.4915 | 18 | 4039.14 |  | 2727.14 | 20748.09
Includes CFE, CISO & LDWP
WI TOTAL |  | 112324.3248 | 18 | 14319.0203 |  | 7392.4353 | 48990.64
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64253 | 17 | 12942
SRSG |  | 12458 | 17 | 3470
CAMX* |  | 29901 | 18 | 5078
WI TOTAL |  | 106271 | 18 | 24652
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 39.6
Low (F) | 24.3
Partly Cloudy |  | 66324.9145 | 69.53% | 69.53% | 30.47% | 66,325 MW
|  | 12960.8188 | 52.27% | 52.27% | 47.73% | 12,961 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 54.5 | 32881.4915 | 62.52% | 62.52% | 37.48% | 32,881 MW
Low (F) | 44.7
Patchy rain nearby
Billings, MT
High (F) | 51.8
Low (F) | 28
Sunny
Loveland, CO
High (F) | 50.9
Low (F) | 28.4
Partly Cloudy
Los Angeles, CA
High (F) | 75.4
Low (F) | 59.2
Sunny
Phoenix, AZ
High (F) | 74.3
Low (F) | 50.2
Sunny
Salt Lake City, UT
High (F) | 34
Low (F) | 21.7
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,325 MW
12,961 MW
32,881 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend