## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 70.9 |  | 35.4 |  | 44.6 | 72.1
Low: |  | 50 |  | 25.7 |  | 39.6 | 60.2
Conditions: |  | Sunny |  | Overcast |  | Cloudy | Heavy rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65566.0508 | 18 | 8611.8187 |  | 4261.7933 | 18423.76
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12622.5429 | 18 | 1213 |  | 820.4653 | 10893.96
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32751.4866 | 18 | 4518.26 |  | 2746.26 | 25020.06
Includes CFE, CISO & LDWP
WI TOTAL |  | 111111.1804 | 18 | 14343.0787 |  | 7230.1337 | 53803.78
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67503 | 18 | 14558
SRSG |  | 12836 | 18 | 2951
CAMX* |  | 32050 | 19 | 4891
WI TOTAL |  | 112201 | 18 | 22977
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
11-04/11-05 | WACM | Path 36 |  | 4 | 8

## Map
Weather Information
Calgary, AB
High (F) | 35.4
Low (F) | 25.7
Overcast |  | 65566.0508 | 68.73% | 68.73% | 31.27% | 65,566 MW
|  | 12622.5429 | 50.9% | 50.9% | 49.1% | 12,623 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.9 | 32751.4866 | 62.27% | 62.27% | 37.73% | 32,751 MW
Low (F) | 44.6
Cloudy
Billings, MT
High (F) | 42.8
Low (F) | 29.5
Moderate rain
Loveland, CO
High (F) | 47.5
Low (F) | 22.8
Partly Cloudy
Los Angeles, CA
High (F) | 72.3
Low (F) | 58.3
Sunny
Phoenix, AZ
High (F) | 75.7
Low (F) | 47.8
Sunny
Salt Lake City, UT
High (F) | 36.3
Low (F) | 26.2
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,566 MW
12,623 MW
32,751 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend