## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 72.9 |  | 35.8 |  | 44.4 | 66.2
Low: |  | 45.3 |  | 22.1 |  | 39.4 | 60.6
Conditions: |  | Sunny |  | Partly Cloudy |  | Cloudy | Fog
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65656.1233 | 18 | 7680.0515 |  | 4267.648 | 18089.47
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12576.1783 | 18 | 1192 |  | 817.4516 | 10406.94
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32565.0215 | 18 | 4525.33 |  | 2753.33 | 24457.52
Includes CFE, CISO & LDWP
WI TOTAL |  | 110944.1231 | 18 | 13397.3815 |  | 7127.8605 | 52657.93
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68024 | 18 | 15677
SRSG |  | 12854 | 18 | 2514
CAMX* |  | 32736 | 18 | 5670
WI TOTAL |  | 113614 | 18 | 23861
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 35.8
Low (F) | 22.1
Partly Cloudy |  | 65656.1233 | 68.83% | 68.83% | 31.17% | 65,656 MW
|  | 12576.1783 | 50.72% | 50.72% | 49.28% | 12,576 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 55 | 32565.0215 | 61.91% | 61.91% | 38.09% | 32,565 MW
Low (F) | 40.5
Fog
Billings, MT
High (F) | 37.9
Low (F) | 19.3
Moderate or heavy snow showers
Loveland, CO
High (F) | 36.1
Low (F) | 23.8
Overcast
Los Angeles, CA
High (F) | 71.4
Low (F) | 56.1
Sunny
Phoenix, AZ
High (F) | 70.2
Low (F) | 50.9
Sunny
Salt Lake City, UT
High (F) | 34.5
Low (F) | 20.1
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,656 MW
12,576 MW
32,565 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend