## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 69.6 |  | 54 |  | 56.8 | 63.9
Low: |  | 46.4 |  | 36.5 |  | 46.4 | 55.9
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65683.7408 | 8 | 12403.1447 |  | 4269.4432 | 18373.12
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12537.8257 | 18 | 1336 |  | 814.9587 | 10430.77
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32117.88 | 18 | 4590.38 |  | 2717.38 | 25687.26
Includes CFE, CISO & LDWP
WI TOTAL |  | 109192.3857 | 18 | 17410.0807 |  | 7046.7147 | 54183.15
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67894 | 18 | 15080
SRSG |  | 12773 | 18 | 2391
CAMX* |  | 32141 | 18 | 6128
WI TOTAL |  | 112808 | 18 | 23599
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 54
Low (F) | 36.5
Sunny |  | 65683.7408 | 68.86% | 68.86% | 31.14% | 65,684 MW
|  | 12537.8257 | 50.56% | 50.56% | 49.44% | 12,538 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 63.5 | 32117.88 | 61.06% | 61.06% | 38.94% | 32,118 MW
Low (F) | 42.4
Sunny
Billings, MT
High (F) | 57.2
Low (F) | 25.3
Sunny
Loveland, CO
High (F) | 39.2
Low (F) | 23.5
Moderate or heavy snow showers
Los Angeles, CA
High (F) | 74.7
Low (F) | 55.8
Sunny
Phoenix, AZ
High (F) | 67.6
Low (F) | 46.4
Sunny
Salt Lake City, UT
High (F) | 44.6
Low (F) | 16.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,684 MW
12,538 MW
32,118 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend